Propane storage tank specification and price (2018-1-11)

## Fob shanghai price

Capacity

Diameter

Shell

Head

Kerb

Loading

Overall

## (per unit/USD)

(CBM)

thickness thickness weight Weight DN

dimension(mm)

(mm)

(mm)

(kg)

(kg)

USD37,630	120	3400	18	20	24960  47880

Design pressure	1.77MPa

13820*3436*402

6

Corrosion allowance( mm)	1mm

Medium density (kg/m3)	420kg/m3

Material of tank and main pressure parts	Q345R

Carried standard

Pressure vessels,supervision regulation on safety technology for stationary china pressure vessels

Safety valve of selection fitting(optional USD2,500)

# Remark:

Safety valve, column magnetic reversible level meter,pressure gauge,thermometer,cut-off valve

# The safety valve is designed under the condition that the tank is placed under spray device whose flow is larger than 10L/m.min

- The location dimension of pipe orifice can be setted by the user’s actual place .

- We can change  reversible  level  meter to magnetic  float ball type  according to the user’s requirement.

Picture for reference :