|  |
| --- |
|  |
| **Integrated Solar Garden Light-June-2018** |
| **Item No.** | **Picture** | **LED Chips** | **Power** | **Solar Panel** | **Lithium Battery** | **PackageSize** | **Control Method** |  | **Unit Price (QTY>100)** | **Unit Price (QTY>500)** |
| AN-ISGL08-12W |  | Bridgelux | 12W | 25W | 7.4V8AH | 665\*285\*465mm | Light+Motion Sensor Control |  | $89.21 | $87.14 |
| AN-ISGL08-20W | Bridgelux | 20W | 30W | 7.4V14AH | 735\*285\*465mm | Light+Motion Sensor Control |  | $118.89 | $115.08 |
| AN-ISGL08-30W | Bridgelux | 30W | 40W | 7.4V24AH | 735\*285\*465mm | Light+Motion Sensor Control |  | $148.73 | $140.63 |
| AN-ISGL08Solar light+monitor system |  | Bridgelux | 20W+8W | 60W | 12V30AH | 745\*305\*660mm | Wifi / Network cable |  | $287.62 | $283.81 |
| AN-ISGL08Solar light+monitor system | Bridgelux | 20W+8W | 60W | 12V30AH | 745\*305\*660mm | Wifi / Network cable/ 4G |  | $327.30 | $323.33 |

**Terms and Quotation:**

1. Above prices are based on EXW.
2. MOQ: 100pcs.
3. Warranty: 2 years.
4. Delivery time: For 500pcs, goods can be finished within 15 days upon down payment receiving.
5. This price keeps valid for one month.