|  |
| --- |
| Price list for Intelligent Solar LED lamps |
| Picture | Type | Parameters | Warranty | Unit Price |
| Lamp | LEDqty | Solar panel | LiFePO4Lithium battery | Mounting height |
| All-in-two solar led street light |
|  | AL-NH65 | 20W3000-3500LM | 105pcs | 18V/65W | 210WH | 5-6m/￠ 76mm | 3years | $223 |
| AL-NH80 | 30W4500-5000LM | 105pcs | 18V/80W | 340WH | 7-8m/￠ 76mm | 3years | $280 |
| AL-NH100 | 40W6000-6500LM | 105pcs | 18V/100 W | 420WH | 7-8m/￠ 76mm | 3years | $318 |
| SC-NH150 | 50W7200-7500LM | 105pcs | 18V/150 W | 575WH | 8-10m/￠ 76mm | 3years | $452 |
| AL-NH200 | 60W8400-9600LM | 105pcs | 18V/100W\*2pcs | 650WH | 8-10m/￠ 76mm | 3years | $554 |
| All-in-one Solar led street light |
|  | ST2-20 | 20W2600LM | 100pcs | 5V/36W | 192WH/60A H | 5-6m/￠ 60mm | 3years | $118 |
| ST2-30 | 30W3900LM | 100pcs | 5V/45W | 256WH/80A H | 5-6m/￠ 60mm | 3years | $142 |
| ST2-40 | 40W5200LM | 100pcs | 5V/60W | 320WH/100 AH | 7-8m/￠ 60mm | 3years | $158 |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ST2-60 | 60W7800LM | 100pcs | 18V/80W | 512WH/160 AH | 7-8m/￠ 60mm | 3years | $236 |
| ST2-80 | 80W10400LM | 200pcs | 18V/110 W | 640WH/200 AH | 9-10m/￠ 76mm | 3years | $296 |
| ST2-100 | 100W13000LM | 200pcs | 18V/110 W | 768WH/240 AH | 9-10m/￠ 76mm | 3years | $310 |
| Solar Beatle Light |
|  | AL-BL5000 | 5W900-1000LM | 40pcs | 5V/15W | 35WH | 3-4m | 2years | $37 |
| AL-BL30000 | 9W1600-1700lm | 80pcs | 5V/30W | 76WH | 4-5m | 2years | $55 |
| AL-BL40000 | 15W2600-2700lm | 80pcs | 5V/40W | 128WH | 4-5m | 2years | $67 |
| Solar LED Moon Light |
|  | AL-ML- H5000 | 8W1200-1440LM | 24pcs | 5V/20W | 52WH | 3-5m/￠ 60mm | 3years | $81 |
|  | AL-ML-R40 | 12W1500-1800LM | 30pcs | 4.5V/40W | 105WH | 3-5m/￠ 60mm | 3years | $118 |

Remarks:

1. Body material: aluminium alloy.
2. High efficiency solar panel.
3. Long lifetime lithium battery.
4. Lighting time is about 5-10days. Solar battery charging.
5. Sample Policy: Sample should be paid, delivery time within 3 workdays.
6. Formal order 250 sets. Lead time will be 1-2weeks after receipt of deposit.
7. The price is EXW.
8. Payment term: T/T 50% in advance, balance before shipment
9. Package: Standard carton box packing.