Package number / Name / Model

1 Dialysis machine / Fresenius medical care 40085 S 2 Dialysis machine / Fresenius medical care 40085 S 3 Dialysis machine / Fresenius medical care 40085 S 4 Dialysis machine / Fresenius medical care 40085 S 5 Dialysis machine / Fresenius medical care 40085 S 6 Dialysis machine / Integra

7 Dialysis machine / Integra

8 Dialysis machine / Cobe centrysystem 3

9 Dialysis machine / Cobe centrysystem 3

10 Dialysis machine / Cobe centrysystem 3

11 Dialysis machine / Cobe centrysystem 3

12 Dialysis machine / Cobe centrysystem 3

13 Dialysis machine / Cobe centrysystem 3

14 Dialysis machine / Cobe centrysystem 3

15 Dialysis machine / Cobe centrysystem 3

16 Dialysis machine / Cobe centrysystem 3

17 Dialysis machine / Cobe centrysystem 3

18 Dialysis machine / Cobe centrysystem 3

19 Anesthesia machine / Drager –Julian plus

20 Anesthesia machine / Drager –Julian plus

21 Apparatus for laparoscopy Olimpus / olimpus vicera OPV 7 / Olimpus VHI-3 / vicera CLV-40

22 Anesthesia machine / Taema Alis

23 Assisted breathing apparatus / Taema Cesar

24 Anesthesia device / Gambro Soxil Tronic B

25 Defibrillator Equipment / Reanibex 3 Bexen

26 Defibrillator Equipment / Ge Cardioserv IPX2

27 Defibrillator Equipment / Ge Cardioserv IPX2

28 Defibrillator Equipment / Physio 1440

29 Urine meter / Dantec UD 5500 MK2

30 Fragmentation and Extraction Machine, Cataract Surgery / Zeiss Humphrey P

31 Pneumatic anesthesia device / Romulus - 19 Penion

32 Operating table / MIK

33 Microscope for 3 surgeons with recording camera / Topcon oms 600

34 Operating table / Debrecen

35 Operating table / M.Shaerer AG

36 Microscope for 3 surgeons / Kari Kaps tipo SOM 12

37 Microscope for 2 surgeons / Kari Kaps tipo SOM 62

38 Microscope for 2 surgeons with camera / Carl Zeiss Opmi Novena

39 Microscope for 2 surgeons / Takagi Mo

40 Microscope for 2 surgeons / Albert Wetzlar

41 Operating table

42 Metal trolley with wheels to support the surgical material

43 Metal trolley with wheels to support the surgical material

44 Metal trolley with wheels to support the surgical material

45 Metal trolley with wheels to support the surgical material

46 Metal trolley with wheels to support the surgical material

47 12-lamp operating room lamp

48 Pharmacy refrigerator for cold storage of medicines / norcool

49 Pharmacy refrigerator for cold storage of medicines / Angelatoni

50 Satellite lamp 4 lights / Skilux

51 Lamp 7 lamps for operating rooms / Hannau PL - 3411

52 Operating room lamp, 2 arms with 3 lamps each / Hannau Hannaulux

53 Operating room lamp with 7 quartz lamps / Hannau - 3411-24v.350w.

54 Operating room lamp 4 lamps plus auxiliary crumb with special ophthalmic focus

55 Liposuction machine

56 Liposuction machine

57 Electric streller / Matachana

58 Electric streilizer / Autoklav 17

59 Electric Strelizer / Heraeus

60 Unit for gas strelilization / Steri-vac 5xl 3M

61 Stove

62 Portable ultrasound system digital ultrasound / gpx 12901 logic 500

63 Industrial kitchen oven

64 Electrical panel in the operating room

65 Electrical panel in the operating room

66 Electrical panel in the operating room

67 Auxiliary battery for operating room

68 Auxiliary battery for operating room Inflatable mattress pump (20 pieces)

Pressure measuring apparatus NIHON.KODEN brand cardiofax with pintucks Assisted breathing apparatus / TAEMA M: OSIRIS Liquid collector / SUCTOR BV UVI Perfuser / Braun (11 pcs)

Oxygen pulse / Novo.Metrix M: 515 C Operating room instruments (39pcs)

Traumatology tools Vacuum cleaner / Fazzini Vacuum cleaner / SM 1200 Air liquid hast next BP 88 Surgeon's head lamp Scales for the child. operating rooms ECG device / Megos M: Comp 30 Spare parts for operating lamp lamp Operating Light Lamp Spare Parts / ICU Infuser / Omron CX3 SM line M: 60-50 220w A device for removing blood with a pedal. surgical / Striker Air mattress Infusion set / livecare m 5000 ABBHT Microcamera / Telicolor (2 pcs)

Device for searching for carbon in blood / Engstrom Elisa serie 86920 analizador CO2-O2 Delitador uréter Storz Uromax 27084 B Electric scalpel Commed / XCalibur Plus 60-6250-012 Surgical endoscopy insufflator / Solo Endoscopy Electric scalpel / Radiaton 804 Siemens Small camera / Richard Wolf Endocam Centrifuge / Ttetticch M EVA 85 Incubator / Attest 3M Microtyping system / Diamed Incubator SI 37 / Diamed Blood% Redeemer / Critikon 2000 Scalpel apparatus ААА martin ME 411 Sterilizer / Statim 5000 S (3 pcs)

Sterilizer Tray / Statim 5000 S (2 pcs)

Spare parts / Statim 5000 S (3pcs)

Pressure control apparatus Respirator Mark 8 / Bi

Pressure control apparatus

Respirator Mark 8 / Bird

Electric Operation Valley lab SSE 2-K

Surgical lamp ( 14 pcs )

Serum holder (23pcs)

Scales (6pcs)

Bed for transportation (2pcs)

Surgical tray with wheels for surgical material with two dressing containers

Surgical tray and dressing container (2 pcs)

Intimate caviar (4 pcs)

Trolley for pensioners

Accessories for PRESTILIX

Package number / content

1-11. Miscellaneous parts - single pack

 12 Moving part

 13 Half

 14 Table

 15 Generator

 16 Disclosure

 17 Basic feet

 18 Control panels

 19 Control panels

 20 Display

 21 X-ray table X Prestilix

 22 Energy Box

 23 Prestilix table protection

 24 Prestilix table protection

Name Quantity

Spare parts / Statim 5000 S

Scales for a child

Floor lamp (2 pcs)

Oxygen and vacuum towers for the operating room (10 pcs)

Tourniquet equipment

Trays for food (46 pcs)

Spare parts for dialysis (2 pcs)

Operating room stainless steel tray

Cables and accessories for operating machines

Bed motors (58 pcs)

Headboards (71pcs)

Bedside tables (52 pcs)

Bed bases (49 pcs)

Surgeon's chair (5 pcs)

Air mattress

Console cover (35 pcs)

Mattresses (52 pcs)

Operating room lamp (5 pcs)

Trolley for surgical instruments

Stretcher (11 pcs)

Doorbells for patients (30 pcs)