Quotation for	expandable container house

| No | item | specification | picture | loading quantity | price |
| --- | --- | --- | --- | --- | --- |
| 1 | DRF-1 | open room with steel door 1)openable size 5850mm*6085mm*2500mm Closed size: 5850mm*2250mm*2500mm) 2)75mm eps sandwich panel for wall and roof 3)16mm reinforced MGO board+1.6mm pvc tile for floor 4)with 1 steel door(930*2030mm), 8 pvc double glazed sliding windows （930*930mm); 5)with electricity, DB box, switch, sockets, A/C sockets, wires, etc.; |  | 1*40HC container can load 2 units | DISCOUNT PRICE:USD7,700/ UNI T EXW |

| 2 | DRF-2 | open room with sliding door 1)openable size 5850mm*6085mm*2500mm Closed size: 5850mm*2250mm*2500mm) 2)75mm eps sandwich panel for wall and roof 3)16mm reinforced MGO board+1.6mm pvc tile for floor 4)with 1 aluminum hinged door door(W1300*H2000mm),8 pvc double glazed sliding windows （930*1130mm); 5)with electricity, DB box, switch, sockets, A/C sockets, wires, etc.; |  | 1*40HC container can load 2 units | DISCOUNT PRICE:USD7,990/ UNIT EXW |
| --- | --- | --- | --- | --- | --- |
| 3 | DRF-3 | Open Space with a Toilet Layout 1)openable size 5850mm*6085mm*2500mm Closed size: 5850mm*2250mm*2500mm) 2)75mm eps sandwich panel for wall and roof 3)16mm reinforced MGO board+1.6mm pvc tile for floor 4)with 1 aluminum double glazed hinged door(W1300*H2000mm), 8 pvc double glazed sliding windows （930*930mm), 1 bathroom exhaust fan ; - with electricity, DB box, switch, sockets, A/C sockets, wires, etc.; - with bathroom(shower ,shower tray,seat toilet,wash basin,plumbing) |  | 1*40HC container can load 2 units | DISCOUNT PRICE USD8,810/UNIT EXW |

| 4 | DRF-4 | 1 Bedroom Layout 1)openable size 5850mm*6085mm*2500mm Closed size: 5850mm*2250mm*2500mm) 2)75mm eps sandwich panel for wall and roof 3)16mm reinforced MGO board+1.6mm pvc tile for floor 4)with 1 aluminum double glazed hinged door(W1260*H2000mm), 8 pvc double glazed sliding windows （930*930mm), 1 bathroom exhaust fan ; - with electricity, DB box, switch, sockets, A/C sockets, wires, etc.; - with bathroom(shower ,shower tray,seat toilet,wash basin,plumbing) - with one bedroom 8)with 1.8m long kitchen |  | 1*40HC container can load 2 units | DISCOUNT PRICE USD8,979/UNIT EXW |
| --- | --- | --- | --- | --- | --- |
| 5 | DRF-5 | 2 Bedroom Layout 1)openable size 5850mm*6085mm*2500mm Closed size: 5850mm*2250mm*2500mm) 2)75mm eps sandwich panel for wall and roof 3)16mm reinforced MGO board+1.6mm pvc tile for floor 4)with 1 aluminum double glazed hinged door(W1260*H2000mm), 8 pvc double glazed sliding windows （930*930mm), 1 bathroom exhaust fan ; - with electricity, DB box, switch, sockets, A/C sockets, wires, etc.; - with bathroom(shower ,shower tray,seat toilet,wash basin,plumbing) - with two bedrooms 8)with 1.8m long kitchen |  | 1*40HC container can load 2 units | DISCOUNT PRICE:USD8,999/ UNIT EXW |
| remark |  |  |  |  |  |

payment terms:50% deposit by T/T,50% balance before shipment

valid time:in 7 days

lead time:45 days

one 40HC container can load 2 units

| material list for expandable container house with bathroom and kitchen |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project name: |  |  |  |  |  |  | Project No.: |  |  |
| Specification: |  |  |  | 5850mm*6085mm*2500mm |  |  | Area: | 35.5 | m2 |
| NO | ITEM |  | SPECIFICATION |  | UNIT | QUANT ITY |  |  | PICTURE |
| 1 | middle frame( our frame is thicke r than others ) | top main beam |  | 120*42*5mm thickness channel beam welded 60*2.3mm steel plate and 135*25*40*2.3mm channel |  |  |  |  |  |
| 2 |  | corner |  | the same size as shipping container,8.6KG/P CS |  |  |  |  |  |
| 3 |  | bottom secondary beam |  | 100*50*1.5mm galvanized tube steel |  |  |  |  |  |
| 4 |  | top secondary beam |  | 40*60*1.5mm and 30*30*1.5mm galvanized tube steel |  |  |  |  |  |

| 5 |  | bottom main beam | bended galvanized steel 2.3mm thickness | SET | 1.0 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 6 |  | column | bended galvanized steel 2.3mm thickness |  |  |  |  |  |
| 7 | two sides frame( our frame is thicke r than others ) | roof frame | bended galvanized tube steel 77*50*1.8mm |  |  |  |  |  |
| 8 |  | wall frame | bended galvanized tube steel 77*50*1.8mm |  |  |  |  |  |
| 9 |  | floor frame | 100*50*1.5mm and 50*50*1.5mm galvanized tube steel |  |  |  |  |  |
| 10 | other access ories | hook and hinges | steel |  |  |  |  |  |
| 11 | wall(ot her comp any's wall is just 50mm ) | exterior | 75mm eps sandwich panel,outer skin 0.4mm,10KG/M3 |  |  |  |  |  |
| 12 |  | interior | 50mm eps sandwich panel,outer skin 0.4mm,10KG/M3 |  |  |  |  |  |
| 13 | roof(ot her comp | roof of expandable part | 75mm eps sandwich panel,outer skin 0.4mm,10KG/M3 |  |  |  |  |  |

| 14 | any's roof is just 50mm ) | roof of main part | 0.4mm thickness steel sheet+50mm eps sandwich panel | SET | 1.0 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 15 |  | acceossorie s | edge cover,bolt sealant |  |  |  |  |  |
| 16 | floor | sub floor | 15mm thickness MGO board |  |  |  |  |  |
| 17 |  | surface floor | 1.6mm thickness pvc floor tile |  |  |  |  |  |
| 18 |  | electricity | DB box, switch, sockets, A/C sockets, wires, etc |  |  |  |  |  |
| 19 | windo w | pvc sliding window double glazed | 8pcs 930*930mm |  |  |  |  |  |
| 20 | door | exterior | aluminum hinged door double glazed 1260*2000mm |  |  |  |  |  |
| 21 | plumbi ng | pre-installed |  | SET | 1.0 |  |  |  |
| 22 | bathro om partitio n |  | sandwich panel+one door+extra corner decoration | set | 1.0 |  |  |  |
| 23 | glass showe r cabin |  |  | set | 1.0 |  |  |  |
| 24 | toilet | ceremic seat toilet | universal standard | set | 1.0 |  |  |  |

| 25 | wash basin | with faucet etc accessories | universal standard | set | 1.0 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 26 | kitche n | with bottom cupboard,st ainless steel countertop | 1.8m long | set | 1.0 |  |  |  |
| 27 | bedroo m partitio n | 75mm eps sandwich panel | double skin 0.4mm,10KG/M3 | set | 1.0 |  |  |  |
| 28 |  |  |  |  |  |  |  |  |
| 29 | Subtotal |  | EXW |  |  |  | 8,999 |  |

Furniture NOT included

drawing