10.08KW Solar Power Off Grid System

Average power capacity:58.766kwh per day (PSH=5.83Hrs) Batteries power capacity:5.42kwh per day

Model: TBIBSM10.08KW-Off

Type:  Off Grid

Output Power: 10.08KW

Date: 2023/9/27

Output Voltage: 220V 50/60hz Single phase

## Quotation Valid: 10 Days

## Item	Article	Pitcure	Specification	Quantity

BSM560M10-72HPH

- (Mono Perc 560W) Warranty: 25 Years

BSM-10200LV-48

- (10.2KW Off Grid Inverter)

Warranty: 2 Years

Power: 560W Weight: 28.6kg

Size: 2278*1134*35mm

Power: 10.2KW Single Phase Weight: 14.8kg

Size: 530*420*160mm

18

1

Lithium Battery

- Low Voltage

Warranty: 10 Years

51.2V 106Ah

Capacity: 5.427KWH Weight: 48KG

1

WiFi Monitor

4

Warranty: 10 Years

PV Cable

5

Warranty: 25 Years

Monitor System	1

PV 4 mm2	200

MC4 Connector

6

Warranty: 25 Years

Rated current: 30A Rated voltage: 1000VDC

9

Roof top /ground Mounting System for 18 pieces of panels

7

(Including all parts)

Warranty: 25 years

## Price based on:  Complete set solar system Total EXW HeFei  Price  US$5,136.18

payment term:  50% TT in advance, pay the balance before shipping Delivery time :  within 30 working days after receiving the deposit Package: Standard export package, Composite material box.

10.08KW Solar Power On Grid System

Average power capacity:58.766kwh per day (PSH=5.83Hrs)

Model: BSM10.08KW-On

Type:  On Grid

Output Power: 10.08KW

Date: 2023/9/27

Output Voltage: 220V 50/60hz Single phase

## Quotation Valid: 10 Days

## Item	Article	Pitcure	Specification	Quantity	Unit Price	Amount

BSM560M10-72HPH

- (Mono Perc 560W) Warranty: 25 Years

Power: 560W Weight:  28.6kg

# Size:  2278*1134*35mm

18

# HNS10000TL

- (10KW On Grid Inverter ) Warranty: 10 Years

Power: 10KW Single Phase Weight: 19kg

# Size:  510*370*167mm

1

WiFi Monitor

3

Warranty: 10 Years

# PV Cable

4

Warranty: 25 Years

Monitor System	1

PV 4 mm2	200

MC4 Connector

5

Warranty: 25 Years

Rated current: 30A Rated voltage: 1000VDC

# 9

Roof top /ground Mounting System for 18 pieces of panels

6

# (Including all parts)

Warranty: 25 years

Price based on: Complete set solar system

1

## Total EXW HeFei Price	US$4,221.18

Payment term: 50% TT in advance, pay the balance before shipping Delivery time : within 30 working days after receiving the deposit Package: Standard export package, Composite material box.

Many Thanks For Your Attentions And Business!