Mitsubishi Genset

Qt:8pcs

Year:2003

Made in Japan

Hours:800hours to 850hours

Condition:Good-running

Generator

Maker:Kato

Model:MGS2000B

Output:2235KVA(1735Kw)

Speed:1500RPM

Frequency:50hz

Duty:Sandby

Voltage:380V/220V

Date:Aug2003

Diesel engine

Maker:Mitsubishi

Model:S16RPTA2-S

Year:2003

Output:1880Kw

Speed:1500PRM

Made in Japan

Date:July 2003