# Solar T130 Gas Turbine Quotation

NO.GTS 202501218/Date:DEC 18, 2025

Please see the table below for detailed quotation items:

- Equipment items and quotations:

| NO. | Description | Model specifications | Unite | Qty | NET Unite Price （USD） | Amount （USD） |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Solar T130 Gas Turbine | Titan 130--20501s 15MW，50Hz, 10.5kV | set | 1 | $7,450,000 | $7,450,000 |
| Total Price：$7,450,000 |  |  |  |  |  |  |
| Notes： - Titan130-20501s, low emissions, 15MW, 50Hz, 10.5kV, manufactured in 2016. Brand new, unused, idle unit, stored outdoors. The complete unit has been installed on site with fuel lines, lubrication lines and electrical cables connected, but has not undergone commissioning. Electrical equipment is housed within the indoor switchgear room, with all electrical control cabinets, variable frequency starters and DC batteries preserved in good condition. Accompanying tools and spare parts remain in their original factory wooden crates, unused and unopened. - Delivery time:6-7months |  |  |  |  |  |  |

Scope of supply - T130 gas turbine list

| 序号 Item | 名称 Description | 型号规格 Type |  | 制造商/原产地 Manufacture |
| --- | --- | --- | --- | --- |
| 1 | 大力神 130 燃气轮机 Titan 130 | T130 | ISO:15000KW | 索拉/美国 Solar/USA |
| 1.1 | 底座 Turbine underbase | / |  | 索拉/美国 Solar/USA |
| 1.2 | 干式低排放燃气轮机 Solar turbine Titan 130 SoloNox | T130 |  | 索拉/美国 Solar/USA |
| 1.3 | 减速齿轮箱 Gearbox | 1500RPM 50HZ |  | 索拉/美国 Solar/USA |
| 1.4 | 启动系统 Starting system | 直驱交流启动电机 AC/DC starting generator |  | 索拉/美国 Solar/USA |
| 1.5 | 燃料输送系统 Fuel transmission system | 燃料气输 送过滤器 Fuel transmission& filter |  | 索拉/美国 Solar/USA |
| 1.6 | 润滑系统 Lube Oil System | 含润滑油箱及加热系统、主润滑油泵、预/ 后润滑油泵， 120V 直流备用润滑油泵、过滤器 Include oil tank & hearting system,AC/DC oil pump,120V DC oil pump, filter |  | 索拉/美国 Solar/USA |
| 1.7 | 控制系统和监视系统 Monitoring and Control system | 含：透平控制系统和监视系统、橇装显示控 制系统、震动监控、燃气轮机推力轴承温度 监测、余热回收控制接口、后备紧急停车系 统、控制系统软件、中英文屏幕显示语言 Include display control and TeamViewer, vibration monitor,GT power bear temp.monitor,HRSG control port, backup urgency stop system, English & Chinese Versions |  | 索拉/美国 Solar/USA |
| 1.8 | 机罩 Enclosure | 含：隔音,全天候室外型机罩、燃气泄露探 测系统、火灾探测与灭火系统、机罩的火焰 与气体探测系统、二氧化碳灭火系统、机罩 通风系统、电气室 Include: sound proof, outdoor enclosure, gas leak monitor, fire extinguishing system, gas and blaze detector,CO2 system, ventilation system, electric control room. |  | 索拉/美国 Solar/USA |
| 1.9 |  |  |  |  |

| 含 includ ing | 电源进线柜 power input box | / | 索拉/美国 Solar/USA |
| --- | --- | --- | --- |
|  | 低压配电柜 low volt.box | / | 索拉/美国 Solar/USA |
|  | 辅助低压变压器Auxiliary low voltage transformer | / | 索拉/美国 Solar/USA |
|  | 120VDC 电池系统 120VDC battery | / | 索拉/美国 Solar/USA |
| 1.10 | 附属设备accessory | 透平清洗系统（盘车和在线方式） GT cleaning system(online and barring) |  |
| 2 | 文件 Files | 图纸、运行维护手册 Drawings &Operation and maintenance manual | 索拉/美国 Solar/USA |
| 3 | 零备件 parts | 调试消耗件 accessories of test | 索拉/美国 Solar/USA |
| 4 | 发电机 Generator | 14778KVA/11000V/50Hz |  |
| 5 | 燃烧空气过滤器 Combustion air intake system | / | 索拉/美国 Solar/USA |
| 6 | 透平空气消音器 Combustion air intake Silencer | / | 索拉/美国 Solar/USA |
| 7 | 空冷润滑油冷却器 Lube oil cooler | / | 索拉/美国 Solar/USA |

| 8 | 油雾分离器 Oil demister | / | 索拉/美国 Solar/USA |
| --- | --- | --- | --- |
| 9 | 联轴器 Coupling | / | 索拉/美国 Solar/USA |