THE FOLLOWING HFO FIRED POWER PLANT IS AVAILABLE FOR SALE WITH US WITH IMMEDIATE DELIVERY

# 1 No. –107.088 MW WARTSILA (2011) make HFO Fired Power Plant having the following technical specifications:

## 1.0: PLANT KEY DATA & MAJOR EQUIPMENTS – SUMMARY:

#### : Plant Key Data:

| 01. | Plant Capacity (gross) | 107.088 MW |
| --- | --- | --- |
| 02. | Plant Capacity (Net as per last PPA with BPDB) | 100 MW |
| 03. | Designed Operation Philosophy (Base Load/Peaking) | Peaking Load |
| 04. | Power generation & evacuation voltage | 11KV & 132 KV |
| 05. | Types of usable fuel | HFO |
| 06. | Date of Commissioning/COD | 21st July 2011 |
| 07. | Date of termination of PPA (three terms, 12 years) | 23rd April’2026 |

  - : Plant Major Equipment Data:

| No. | Equipment | Manufacturer | Model | Quantity | Capacity |
| --- | --- | --- | --- | --- | --- |
| 01. | Prime Mover | WARTSILA | W20V32 | 12 | 9200 KW |
| 02. | Generator | AVK | DIG 167 F/8 | 12 | 11155 KVA |
| 03. | Main Power Transformer | Crompton Greaves Ltd | IEC 60076 | 03 | 40/50 MVA |
| 04. | Station Transformer | LTL Transformers (Pvt) Limited | L1 75 AC 28/AC 3 | 03 | 2000 KVA |
| 05. | Black Start Generator | LEROY SOMER Alternators | 47.2VS3 J 6/4 | 01 | 375 KVA |
| 06. | Fuel Treatment Separator | GEA WESTFALIA, GmbH | OSE80-0136- 067/60 | 03 | 15400 dm³/h |
| 07. | Lube Oil Separator | GEA WESTFALIA, GmbH | OSE20-0196- 067/15 | 12 | 2850 dm³/h |
| 08. | Exhaust Gas Boiler | AALBORG INDUSTRIES OY, FINLAND | H TYPE 2A | 04 | 1700 KW |
| 09. | Auxiliary Boiler | AALBORG INDUSTRIES OY, FINLAND | BH-1500 L | 01 | 1000 KW |
| 10. | Starting Air Compressor | HATLAPA | L160 | 02 | 151 m3/h |
| 11 | Starting Air Compressor | ATLAS COPCO | LT-25-30 W KE | 01 | 90 m3/h |
| 12. | Instrument Air Compressor | KAESER | SK25 | 02 | 15 KW |
| 13. | Plant Control System | Wärtsilä Operator’s Interface System (WOIS) |  |  |  |

- PLANT OVERALL PERFORMANCE EVALUATION:

  - : Operational Data:

| Machine Identification | DG1 | DG2 | DG3 | DG4 | DG5 | DG6 |
| --- | --- | --- | --- | --- | --- | --- |
| Running Hours | 51914 | 48387 | 44660 | 47184 | 47096 | 47786 |
| Machine Identification | DG7 | DG8 | DG9 | DG10 | DG11 | DG12 |
| Running Hours | 55477 | 46471 | 45199 | 47961 | 44613 | 52961 |

  - : The Specific Fuel Consumption (SFC) and Specific Lube oil consumption (SLOC) calculated based on the Actual Energy injected into the grid:

| Year (April – March) | Availability (In %) | Net Specific Engine Fuel Consumption (gm/Kwh) | Net Plant Specific Fuel Consumption (gm/Kwh) | Specific Lube Oil Consumption (gm/Kwh) | Plant Load Factor (in %) |
| --- | --- | --- | --- | --- | --- |
| COD – 21st July’2011 | 99.29 | 210.054 | 215.619 | 0.347 | 93.08 |
| 2011 – 2012 | 99.12 | 211.514 | 216.635 | 0.431 | 92.53 |
| 2012 – 2013 | 96.80 | 214.407 | 219.456 | 0.436 | 92.95 |
| 2013 – 2014 | 88.29 | 214.452 | 219.303 | 0.446 | 89.27 |
| 2014 – 2015 | 92.17 | 215.583 | 220.576 | 0.431 | 84.28 |
| 2015 – 2016 | 94.31 | 215.608 | 220.551 | 0.469 | 85.97 |
| 2016 – 2017 | 90.24 | 213.074 | 218.034 | 0.491 | 88.85 |
| 2017 – 2018 | 92.45 | 213.988 | 219.173 | 0.507 | 88.49 |
| 2018 – 2019 | 99.86 | 216.983 | 222.636 | 0.414 | 87.02 |
| 2019– 2020 | 97.69 | 216.831 | 222.202 | 0.430 | 91.11 |
| 2020-2021 | 99.46 | 218.325 | 223.130 | 0.386 | 91.89 |
| 2021-2022 | 94.13 | 219.814 | 224.715 | 0.512 | 89.64 |
| 2022-2023 | 92.39 | 219.303 | 225.171 | 0.607 | 88.41 |
| April’2024- 17th August’2024 | 92.10 | 219.583 | 226.021 | 0.762 | 87.74 |

  - : Major Overhauling Information:

GENSET:

| Engine no. | Maint. Infor. | 12000 Hrs SM | 24000 Hrs SM | 36000 Hrs SM | 48000 Hrs SM |
| --- | --- | --- | --- | --- | --- |
| DG1 | Running Hrs | 16814 | 27129 | 34310 |  |
|  | Maint. Date | 06/07/2014 | 10/04/2016 | 24/06/2018 |  |
| DG2 | Running Hrs |  | 23259 | 37263 |  |
|  | Maint. Date |  | 06/03/2016 | 31/05/2020 |  |
| DG3 | Running Hrs |  | 24036 |  |  |
|  | Maint. Date |  | 10/07/2016 |  |  |
| DG4 | Running Hrs |  | 28695 |  |  |
|  | Maint. Date |  | 23/08/2017 |  |  |
| DG5 | Running Hrs |  | 30302 |  |  |
|  | Maint. Date |  | 08/11/2017 |  |  |
| DG6 | Running Hrs |  | 27101 |  |  |
|  | Maint. Date |  | 11/05/2017 |  |  |
| DG7 | Running Hrs | 19578 |  | 39340 |  |
|  | Maint. Date | 26/11/2014 |  | 29/10/2018 |  |
| DG8 | Running Hrs |  | 24146 |  |  |
|  | Maint. Date |  | 22/05/2016 |  |  |
| DG9 | Running Hrs |  | 28966 |  |  |
|  | Maint. Date |  | 28/12/2017 |  |  |
| DG10 | Running Hrs |  | 29070 |  |  |
|  | Maint. Date |  | 08/06/2017 |  |  |
| DG11 | Running Hrs | 14547 | 31711 |  |  |
|  | Maint. Date | 06/09/2014 | 20/05/2018 |  |  |
| DG12 | Running Hrs | 19682 |  | 37631 |  |
|  | Maint. Date | 06/01/2015 |  | 31/01/2018 |  |

Power Transformer – OLTC:

(150,000 Tap change or 7 years interval schedule maintenance):

| Sl. No. | Power TX # | OLTC information |  | Maint. information |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Model | Sl. No. | Date | Tap Count |
| 01 | 1 | IEC 60076 | ET09903/1 | 16-02-2018 | 047512 |
| 02 | 2 | IEC 60076 | ET09903/2 | 16-02-2018 | 047615 |
| 03 | 3 | IEC 60076 | ET09903A/2 | 16-02-2018 | 046004 |

## TECHNICAL INFORMATION FOR MAJOR EQUIPMENT:

#### : Prime Mover – 12 Nos.

Type	: W20V32

Year of Manufacture	: 2010 Number & Arrangement of Cylinders	: 20, V type Cylinder Bore Diameter	: 320 mm

Stroke Length	: 400 mm

Engine Speed	: 720 rpm

Mean Piston Speed	:  10.0 m/s

Swept Volume per Cylinder	: 32.17 liters

Compression Ratio	: 16:1

Output	: 9200 kW

Governor Manufacture	: WOODWARD

Type	: PG – EG 58

Wet sump capacity	:  5300 liters

Cooling water volume of engine	: HT 940 liters LT 310 liters

#### Fig: Engine

  - : Turbocharger:

Type	: TPL67-C34

Approx. Speed	: 30000 rpm (Max.)

Lubrication	: SAE 40

Quantity	24

#### : Generator - 12 Nos.

Type	: DIG 167 f/8

Year of Manufacture	: 2010

Rated apparent power	: 11155 KVA Rated Voltage	: 11000 V

Rated Current	: 585 A

Rated Frequency	: 50 Hz

Number of phases	3

Rated Speed	: 750 rpm

Number of poles	8

Connection	: STAR

Power factor	: 0.80

#### Fig: Turbocharger

Fig: Generator

| Geenerator Identification | DG1 | DG2 | DG3 | DG4 | DG5 | DG6 |
| --- | --- | --- | --- | --- | --- | --- |
| Generator Serial No. | 8430804 B304 | 8430385 B101 | 8430385 C101 | 8430778 B102 | 8430778 B202 | 8430417 B101 |
| AVR – | 004007 | 002018 | 002337 | 004136 | 004218 | 1364181 |

| Generator Identification | DG7 | DG8 | DG9 | DG10 | DG11 | DG12 |
| --- | --- | --- | --- | --- | --- | --- |
| Generator Serial No. | 8430804 B404 |  | 8430385 G104 | 8430185 J101 | 8430385 K101 | 8430385 H101 |
| AVR – | 004123 | 002333 | 002335 | 002311 | 1361006 | 002030 |

- ELECTRICAL SYSTEMS:

  - :	Main Power Transformer – 3 Units:

Rated Power	:  40/50 MVA

Rated Frequency	:  50 Hz

Phases	:  3

Rated Voltage (HV/LV)	:  132/11 KV Rated Current (HV/LV)	:  218.7/2624.3 A Vector Group	:  YNd11

% Impedance on 50 MVA	:  13.44%, 12.54%, 11.13%

Types of cooling	:  ONAN / ONAF

Transportation weight	:  88200 Kg

Oil Volume	:  27500 Ltr

Year of Manufacture	:  2010

Standard	:  IEC 60076

Manufacturer	:  Crompton Greaves Ltd

No of Tap positions	:  21

Tap changer Model	:  ED100S

OLTC Manufacturer	:  MR

Year of OLTC Mfg.	:  2010

#### Fig: Main Power Transformer

  - :	Station Transformer - 3 Units:

Rated Power	:  2000 KVA

Rated frequency	:  50 Hz

No of Phases	:  3

Rated Voltage (HV/LV)	:  11000/433 V Rated Current (HV/LV)	:  2666.7/104.27 A Vector Group	:  Dyn11

% Impedance	:  7.18%

Types of cooling	:  ONAN

No of Tap positions	:  5 Approx. Masses (Total)	:  6510 Kg Year of Manufacture	:  2011

Standard	:  IEC-60076:2000

Manufacturer	:  LTL Transformers (Pvt) Limited

#### Fig: Station Transformer

  - : High Voltage Switchgear System:

    - : Main breakers : 4 units

Type	: SF6

Manufacturer	: Crompton Greaves Ltd

Year of mfg.	: 2010

Rated Voltage	: 145 KV

Rated Current	: 1250 A

Rated Frequency	: 50 HZ

#### : Disconnector with Earthing switch	: 1 units

Model	: CD101

Type of drive	: Motor Drive/ Manual

Rated Current	: 1250 A Manufactured by	: COELME, egic Year of Mfg.	: 2010

#### : Disconnector without Earthing switch : 4 units

Model	:  CD101

Type of drive	:  Motor Drive/ Manual

Rated Current	:  1250 A Manufactured by	:  COELME, egic Year of Mfg.	:  2010

#### : Potential transformer  : 03 units

Type	: IVT

Model	:

Rated Voltage	: 132 kV

Rated Voltage Ratio	: 132 KV/110 V

Class of Accuracy	: Cl. 0.2

Rated Sec. Burden	: 50 VA

Rated Frequency	: 50 Hz

No of Phase	: 3 Phase

Manufactured by	:

Year of Mfg.	: 2010

#### : Potential transformer  : 03 units

Type	: CVT

Model	:

Rated Voltage	: 132 KV

Rated Voltage Ratio	: 132 KV/110 V

Class of Accuracy	: CL. 0.5 / Cl. 3P

Rated Sec. Burden	: 50 VA

Rated Frequency	: 50 Hz

No of Phase	: 3 Phase

Manufactured by	:

Year of Mfg.	: 2010

#### : Potential transformer  : 03 units

Type	: Line CVT

Model	:

Rated Voltage	: 132 KV

Rated Voltage Ratio	: 132 KV/110 V

Class of Accuracy	: CL. 0.5 / Cl. 3P

Rated Sec. Burden	: 50 VA

Rated Frequency	: 50 Hz

No of Phase	: 3 Phase

Manufactured by	: EWH1020978

Year of Mfg.	: 2010

#### : Potential transformer  : 9 unit

Type	: VTI-24-1

Model	:

Rated Voltage	: 11 kV

Rated Voltage Ratio	: 11 KV/110V

Class of Accuracy	: CL. 0.5 / CL. 6P

Rated Sec. Burden	: 50 VA

Rated Frequency	: 50 Hz

No of Phase	: 3 Phase

Manufactured by	: TRAFINDO

Year of Mfg.	: 2010

#### : Current transformer   : 3 units (Out)

Type	: EWH1020978

Rated Voltage	: 132 kV

Rated Current Ratio	: 800/1 A

Class of Accuracy	: CL. 0.2, / CL. 5P20

Rated Sec. Burden	: 30 VA

Rated Frequency	: 50 Hz

No of Phase	: 3 Phase

Manufactured by	: ELSTER

Year of Mfg.	: 2010

#### : Current transformer   : 9 units

Type	:

Rated Voltage	: 132 kV

Rated Current Ratio	: 300/1 A

Class of Accuracy	: CL. 0.5, / PX / 5P20

Rated Sec. Burden	: 30 VA / 15 VA

Rated Frequency	: 50 Hz

No of Phase	: 3 Phase

Manufactured by	:

Year of Mfg.	: 2010

#### Current transformer	: 09 units

Type	:

Rated Voltage	: 11 kV

Rated Current Ratio	: 2500/1 A

Class of Accuracy	: CL, 5P20

Rated Sec. Burden	: 30 VA

Rated Frequency	: 50 Hz

No of Phase	: 3 Phase

Manufactured by	:

Year of Mfg.	: 2010

#### : Lightening Arrester	: 9 units

Type	: Zinc Oxide Surge Arrester

Model	: ZLA-3E

Rated voltage	: 120 KV Discharge Current	: 10 KA Rated Frequency	: 50 Hz

Manufacturer	: ZINC OXIDE SURGE ARRESTER Year of Mfg.	: 2010

#### : Lightening Arrester	: 3 units

Type	: Zinc Oxide Surge Arrester

Model	: ZLA-3E

Rated voltage	: 120 KV Discharge Current	: 10 KA Rated Frequency	: 50 Hz

Manufacturer	: ZINC OXIDE SURGE ARRESTER Year of Mfg.	: 2010

#### Fig: Main breakers

Fig: Earthing Switch	Fig: PT	Fig: CT	Fig: Lighting Arrestor

#### : Medium Voltage Switchgear System:

Operating Voltage	: 11 KV Rated Voltage	: 12 KV

Rated Current	: 2500 A

Frequency	: 50 Hz

No of phases	3

#### : Generator Cubicles	: 12 units

Breaker type	: LF2 Manufacturer  : SCHNIDER Model	: E2 C2 M2 Rated voltage  : 12 KV Rated current  : 630 A

Year of Mfg.   : 2010

#### 4.4.3: Station TX Cubicles	: 3 units

Breaker type	: LF2 Manufacturer  : SCHNIDER Model	: E2 C2 M2 Rated voltage  : 12 KV Rated current  : 630 A

#### 4.4.5: Outgoing Cubicles	: 3 units

Breaker type	: LF2 Manufacturer  : SCHNIDER Model	: E2 C2 M2 Rated voltage  : 11 KV Rated current  : 2500 A Year of Mfg.   : 2010

#### Fig: 4.4

  - : Low Voltage Switchgear System:

    - : Black Start Generator : 1 units

Breaker type	: LKE-606-FIXED

Manufacturer	: LKE

Model	:

Rated voltage	: 1000 V

Rated frequency	: 50 Hz

Rated current	: 600 A

#### 4.5.1: Main breakers : 6 units

Breaker type	: LKE-632-FIXED

Manufacturer	: LKE

Model	:

Rated voltage	: 1000 V

Rated frequency	: 50 Hz

Rated current	: 3200 A

#### Fig: 4.5

  - :	DC System:

    - : Battery Charger	: 01 units

Type/Model	: DTP

A.C input voltage	: 415V

D.C output voltage	: 110V

D.C output current	: 100A

Manufacturer	: ENERGYPAC

Year of Mfg.	: 2024

#### : Battery Charger	: 2 units

Type/Model	: EIPS 110-1800.4 D1

A.C input voltage	: 400/230V

D.C output voltage	: 120-145V

D.C output current	: (1-4) *15A

Manufacturer	: EFORE

Year of Mfg.	:

#### Fig: 4.6.1	Fig: 4.6.2

- PLANT AUXILIARY SYSTEMS

  - :    Lube oil Purification System

    - : LO Separator – GEA WESTFALIA, GmbH

Quantity	:	12

Type	:	OSE20-0196-067/15

Density	:	0.912 kg/ dm3@15 °C

Viscosity	:	55 cSt @ 100 °C (SAE40)

Feed temperature	:	60 °C (Minimum)

Separating temperature	:	95 °C

Separating capacity	:	2850 dm³/h

Bowl speed	:	12000 rpm

#### Fig: LO Separator

Pump Kind	:	Gear Pump Aggregate

Type	:	KF40 RF2-D15

Capacity	:	3360 l/h (56 l/min)

Separator EL. Motor

Capacity	:	7.5 KW

Manufacturer	:	WEG

Model	:	20MAI10 1007905763

Feed Pump EL. Motor

Capacity	:	1.5 KW

Manufacturer	:	ADDA ANTRIEBSTECHNIK

Model	:

#### Fig: LO Sep. Feed Pump	Fig: LO Sep. Motor	Fig: LO Sep. Feed Pump Motor

5.2:	Fuel Purification System

5.2.1:  HFO Separator – GEA WESTFALIA, GmbH

Quantity	:	3 units

Type	:	OSE80-0136-067/60

Density	:	up to 1.01 kg/ dm³at 15 °C

Viscosity	:	380 cSt @ 50 °C

Feed temperature	:	60 °C (Min.)

Separating temperature	:	98 °C

Separating capacity	:	15400 dm³/h

Bowl speed	:	6800 rpm

Fig: HFO Separator

Pump Kind	:	Gear Pump Aggregate

Type	:	PUAG KF 4/180-WS 5.50 KW

Capacity	:	XX l/h (XX l/min)

Separator EL. Motor

Capacity	:	22 kW

Manufacturer	:	WEG

Model	:	132S-02

Feed Pump EL. Motor

Capacity	:	5.5 KW

Manufacturer	:	ECHTOP

Model	:	TFC132S-4

#### :   Fuel Transfer Units

HFO Transfer Unit

Transfer Pump	:	2 Nos

Type	:	ACG 070D7 NTBP

Capacity	:	XX m3/ h, XX bar, XX cSt

Make	:	IMO AB

El. Motor	:	2 Nos

Capacity	:	11 kW

Manufacturer	:	BROOK CROMPTON

Model	:	WD - DA160MJ-4

#### Fig: HFO Transfer Unit

  - :	HFO / LFO Feeder Unit

HFO Viscosity	: 700 cSt @ 50 °C

Fuel consumption maximum	: 18 m3/h

Viscosity set point minimum	: 16-24 cSt Injection temperature maximum	: 110-120 °C Fuel pres. At unit maximum	: 08 bar

HFO day tank temperature	:  90-92 °C

    - :  Automatic Filter (01 Nos) Manufecturer: Boll & KIRCH Filterbau GMBH Type	:  6.61 DN100

Filter	:  34 microns

    - :  Simplex Filter (XX Nos)

Manufecturer: Boll & KIRCH Filterbau GMBH Type	:  1.03.2.265.500 DN100

Filter	:  34 microns

#### :	Viscosity Meter (01 Nos)

Type	:  M003138

Rated Power	: 6 Watt

Make	:  Aura Marine

#### : HFO Feed Pump (02 Nos)

Pump type/Model	: ACG 070N7 NTBP

Pump Capacity	: 3 - 4 m3/ h, 07 bar, XX cSt Manufacturer	: IMO AB

El. Motor capacity	:  11 kW Manufacturer	:  HOYER MOTORS

Model	:  Y2E2-160M-4

    - :	LFO Feed Pump (01 Nos) Pump type/Model	: ACG 060N7 NVBP Pump Capacity	: 3-4 m3/h, 07 bar, Manufacturer		: IMO AB

El. Motor capacity	:  7.5 kW Manufacturer	:  HOYER MOTORS

Model	:  MS 132S2-2

  - :	Compact Booster Unit – 01 unit for each Engine

    - :  Fuel filter

Type	:  470240 (Duplex Filter)

Make	:  Parker/ Fin

#### :  Heater

Type	:  VISTA MX15 75 L600

Make	:  Aalborg Industries

#### :  Clean leak pump

Type	:  ACE 025L3 NTBP

Capacity	:  30 l/min

Make	:  IMO AB

#### :  Dirty leak pump

Type	:  Diaphragm Pump

Capacity	:  0.5 – 0.6 m3/hr

Make	:  Wildon

#### :  Fuel Oil Flow Meter

Type	:  PROMASS 80

Make	:  Endress+Houser

#### : Engine Fuel Booster Pump

Type	:  ACG 045K7 NTBP

Capacity	:  XX m3/hr

Make	:  IMO AB

El. Motor Capacity	: 7.5 kW Manufacturer	: ABB

El. Motor type	: M3AA 132 SC 2

  - :	HT/LT Cooling Water Radiators (24 Pcs)

Manufacturer	:  Afa Laval Vantaa Oy

Type	:  FBLGS-1260-12-6A8-

Min/ Max. Temperature	:  -100/ 120 °C Design/ Test Press	: 6/9 Bar

Casing Material	:  Hot – dip Galvanized Sheet Steel

Finned Coil	:  Copper

Internal Volume	:  860 liters

Fin Spacing	:  2.5 mm

Dry weight	:  5000 kg

Max working pressure	:  6 bar

#### Electrical Motors

No of Motors	:  144

Capacity	:  7.6 kW, 725 rpm, (380-420) V, 50 Hz

Type	:

Make	:

#### : Engine Pipe Module

    - : Lube Oil Cooler (12 Nos.)

Manufacturer	:	Alfa Laval (India) Ltd.

Type	:

Nominal Capacity	:

Working pressure	:

#### :	LFO Cooler

Manufacturer	:	Alfa Laval (India) Ltd.

Type	:	M6M-FG

Nominal Capacity	:	Up to 16 kg/s Heat transfer surface	:	XX m2

Working pressure	:	7.85 bar (8.0 ATG)

#### :	Lube Oil Filter (Automatic)

Manufacturer	:	BOLL & KIRCH

Model	:	6.48 DN125

Capacity	:	6.48 m3/hr

Mesh size	:	30 microns

#### Fig: 5.7.1 – 5.7.3

  - :	Pre-lube Pump – Pre lubricating of Engine

Pump Type	:  EAAE 085988 (SOP 26)

Capacity	:  XX m3/hr

Make	:  KRACHT D58791 WERDOHL

El. Motor Capacity	: 15 kW Manufacturer	: ABB

El. Motor type	: 3GAA162042-BDG,96

  - :	Pre-heating Pump of Engine

Pump Type	:  AE-25/2

Capacity	:   m3/hr

Make	:  KOLMEKS Finland

El. Motor type	: OKN-841DN12 El. Motor Capacity	: 0.65 KW Manufacturer	: KOLMEKES

#### Fig: Pre-Lube Pump with Motor	Fig: Pre-heating Unit

5.10: Turning Gear of Engine

Type	:  LKV 132-272 H1

Capacity	:  1500 Nm (Max. Torque)

Make	:  KATSA, Finland

El. Motor type	: M2AA 100LA El. Motor Capacity	: 2.2 KW

Manufacturer	: BB MOTORS LTD.

#### Fig: Turning Gear with Motor

6.0: Compressed Air System

    - :	Starting Air System –03 Sets

Compressors	:	02 Nos

Type	:	L160

Make	:	HATLAPA

Capacity	:	151 m3/h

Compressors	:	01 Nos

Type	:	LT-25-30 W KE

Make	:	ATLAS COPCO

Capacity	:	90 m3/h

#### :	Starting air vessel- 04 vessels

Capacity	:	3 m3

P max	:	4.5 MPa

#### Fig: Hatlapa Air Compressor	Fig: Atlas Copco Compressor	Fig: Starting Air Vessels

    - :	Instrument Air Compressor-02 units

Type	:	SK25

Make	:	KAESER

Capacity	:	XX m3/min

Rated pressure	:	8 Bar

Rated power	:	15 KW

#### :	Instrument air vessel- 04 vessels

Capacity	:  250 L

P max	:  11 Bar

#### 6.1.4.1:	Portable Air Compressor-01 unit

Type	: JZW - 0.9/10

Make	: JIEBAO AIR COMPRESSOR

Capacity	:	0.9 m3/min

Rated pressure	:	10 Bar

Rated power	:	10 HP

#### :	Instrument Air Dryer-02 units

Model	: TC 31

Make	:  KAESER

Capacity	:  115 cfm (1.95 m3/min apprx.) Rated pressure	:  16 Bar (LP), 18 Bar (HP) Rated power	:  KW

Fig: Instrument Air Compressor	Fig: Instrument Air Dryer

#### Fig: Portable Air Compressor

  - :	Heat Recovery Steam Generation:

    - :  Exhaust gas boilers – 04 Nos.

Type	:	H TYPE 2A

Manufacturer	:	AALBORG INDUSTRIES OY, FINLAND

Design pressure	:	16.7 bar

Working pressure	:	10 bar

Capacity/ output	:	1700 KW

Exhaust gas flow	:	XX kg/s Exhaust gas temperature max	:	XX C

Main dimensions	:	XX

Water volume (operation)	:	8.1 m³

#### Fig: Exhaust Gas Boiler

    - :  Auxiliary Boiler – 01 Nos.

Type	:	BH-1500L

Boiler Manufacturer	:	AALBORG INDUSTRIES OY, FINLAND

Heat Section	:	Water tube Configuration

Classification	:	Low Pressure Boiler

Burner Type	:	KP – 90 H

Burner Manufacturer	:	Finland

Design pressure	:	16 bar

Working pressure	:	10 bar

Capacity/ output	:	1000 KW

Main dimensions	:	L=XX, W=XX, H=XX, ø XX mm

Water volume (operation)	:	3.61 m³

#### Fig: Auxiliary Boiler with Burner

    - Steam Header – 01 Nos.

Model	:	SH-250D

Manufacturer	:	Aalborg Industries

Design pressure	:	16 bar

Working pressure	:	10 bar

Main dimensions	:	XX

Water volume (operation)	:	XX m³

#### Fig: Steam Header

    - Feed water tank – 01 Nos.

Model	:	SVS -7

Manufacturer	:	AALBORG INDUSTRIES OY, FINLAND

Design pressure	:	3.5 bar

Working pressure	:	0.5 bar

Temperature (operation)	:	100 0C

Main dimensions	:	XX

Water volume (operation)	:	7 m³

#### Fig: Boiler Feed Water Tank With Auxiliary Boiler Container

6.2.5:	Feed water pump – 02 Nos.

Type	:	CR15-10 A-F-A-E-HQQE

Model	:	A96501901P11031

Manufacturer	:	GRUNDFOS (Denmark)

Pmax/Tmax	:  16 bar/ 120 °C

Capacity	:	17 m3/hr

Pump speed	:	2924 rpm

Design	:	Single System 1*100%

Main dimensions	:	L=XX, W=XX, H=XX

#### Fig: Feed water pump	Fig: Chemical dosing unit

  - : Black Start Generator Unit

    - :	Alternator

Manufacturer	: LEROY SOMER

Model	: 47.2VS3 J 6/4

Rated Power Continuous	: 500 kVA Active Power	: 400 kW

Power factor	: 0.8

Voltage	: 440 V

Frequency	: 60 Hz

Dimensions (L*W*H) mm	:

#### :	Engine

Manufacturer	: VOLVOPENTA

Model	: TAD941GE

Rated Power	: 323 kW

Rated speed	:1500 rpm

#### : Liner Honing Machine

Manufacturer	:  CHRIS-MARINE

Model	: UB (Serial no. 06754)

Quantity	01

#### Fig: Liner Honing Machine

  - : Lathe Machine

Manufacturer	:  A-ONE Engineering Works

Model	:

Quantity	01

#### Fig: Lathe Machine

  - : Drilling Machine

Manufacturer	:  LT, China

### Model	: LT – 32 GF

Quantity	01

#### : Welding Machine

Manufacturer	:  Welding Industries Malaysia

Model	: AC300 Rated Output   : 320 Amp Quantity	01

#### : Seat Ring Cutting Machine

Manufacturer	:  CHRIS-MARINE

### Model	: VSL (06732)

Quantity	01

#### : Cylinder Head Washing Machine

Manufacturer	:  TeiJO PESUKONEET OY, Finland

### Model	: C – 1600 HSS KD

Quantity	01

#### : Fuel Injection Valve Pressure Testing Machine

Manufacturer	:  IOP MARINE, Denmark

### Model	: VPUD 1100 MK1 4 pos

Quantity	01

#### Fig: FIV Pressure Testing Machine

- FIRE SYSTEMS

  - : Fire Fighting Pump (01 No.)

Manufacturer	: KSB

Model	: ETANORM M 080 250 M10

Capacity	: 120 m3/h Year of Manufacture : 2011

#### : Fire Fighting Motor (01 No.)

Manufacturer	: SIEMENS

Type	: 1LG4 253-2AB60-7

Volt : 400V, Frequency: 50HZ, KW: 55, RPM: 2970,

#### : JOCKEY PUMP (01 No)

Manufacturer : KSB (Movitec VF 2/14 B) Serial no. : 4501641734

Capacity: 2.1 m3/h

Year of Manufacture : 2011

#### JOCKEY PUMP MOTOR (01 No.)

Manufacturer : IE2 Model: WEA90S2

Volt: (230/400)V, Frequency: 50HZ, KW: 1.5, Current: (5.05/2.90)A RPM: 2900,

8.5: Engine Drive Fire Pump – 01 unit Manufacturer : AGCO SISU POWER INC, Finland Type: AGCO SISU POWER 320 DTP

Serial no. : X01760

Capacity: 59 Kw Seed : 1800 RPM

Year of Manufacture : 2011

#### Fig: Firefighting Pump With Motor	Fig: Engine Drive Fire Pump

    - Foam water system/ Foam Applicator (installed in 4 nos fuel tanks)

    - Gas suppression system (installed in Control room, MV/LV room & Battery room)

    - Different portable fire extinguishers

#### Fig: Different type of Portable Fire Extinguishers

Fig; Fixed Spray System

9.0 Cooling Water System

  - : RAW water pump

Quantity: 08

### Manufacturer: Milnars-Yanshan Joint Venture Type: ETA125 - 40BR

Capacity: 70 m3/h

Speed: 1500 RPM

Year of Manufacture: 2017

#### : Raw Water Pump Motor 8 Nos:

Manufacturer	: Milnars-Yanshan Joint Venture El. Motor Capacity	: 22 KW

Type	: 180M-2

### RPM	: 2940

9.3:  RAW water pump

Quantity: 01

Manufacturer: Milnars-Yanshan Joint Venture Type: ETA100 - 20BR

Capacity: 150 m3/h

Speed: 2900 RPM

Year of Manufacture: 2018

#### 9.4: Raw Water Pump Motor 1 Nos:

Manufacturer	: Milnars-Yanshan Joint Venture El. Motor Capacity	: 30 KW

Type	: Y2-200L-4

RPM	1500

## : RAW water pump

### Quantity: 02

Manufacturer: Milnars-Yanshan Joint Venture Type: ETA100 - 33

Capacity: 100 m3/h

Speed: 1450 RPM

Year of Manufacture: 2016

  - : Raw Water Pump Motor 2 Nos: 	 Manufacturer	: Crompton Graves Ltd El. Motor Capacity	: 37 KW

### RPM	1470

  - : Cooling water pump

Quantity: 07

Manufacturer: Milnars-Yanshan Joint Venture Type: ETA100 - 20 BR

Capacity: 225 m3/h

Speed: 2900 RPM

Year of Manufacture: 2017

#### 9.8: Cooling Water Pump Motor 1 Nos:

Manufacturer	: Milnars-Yanshan Joint Venture El. Motor Capacity	: 30 KW

Type	: 200L1-2

RPM	: 2950

#### Fig: Raw Water Pump

Fig: Cooling Water Pump

10.0: Sludge Management: 10.1: Oily Water Separator:

Quantity	01

Manufacturer	: MAHLE Industriefiltration GmbH Model	: PPT - BWS/MESB 2500

Design pressure	: 5.25 bar Max temp.		:60 deg C

Flow rate	: 2.5 m3/h

Volume	: 980 L

Year of Mfg.	: 2010

  - Oily Bilge Pump:

Quantity	01

### Manufacturer	: Seepex.com

Type	: BN 2 - 6L

Serial No.	: 244847 Year of Manufacture	: 2010

  - : Oily Water Pit Pump (Pneumatic pump):

Quantity	05

### Manufacturer	: DEPA

Type	: DL25 - FA - NNN

Serial no.	: 1008267 Max. Working Press.	: 7 bar Max. Temp.	: 90 deg C

Year of Mfg.	: 2010

Fig: Oily Water Separator Unit

  - : TANK

  - : HFO Buffer Tank:

Quantity:	01

### Manufacturer:	: LTL Global

Capacity:	: 117 m3 Year of Manufacture:	: 2010

  - : HFO Service Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 267 m3

Year of Manufacture	: 2010

Fig: HFO Buffer Tank	Fig: HFO Service Tank

  - : LFO Storage Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 300 m3

Year of Manufacture	: 2010

  - : LFO Service Tank:

Quantity	01

### Manufacturer	:  LTL Global

Capacity	: 100 m3

Year of Manufacture	: 2010

  - : Auxiliary Boiler LFO Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 02 m3

Year of Manufacture	: 2010

Fig: LFO Storage Tank	Fig: LFO Service Tank

  - : Clean Lube Oil Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 55 m3

Year of Manufacture	: 2010

  - : Maintenance LO Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 07 m3

Year of Manufacture	: 2010

  - : Used Lube Oil Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 20 m3

Year of Manufacture	: 2010

  - : Oily Water Buffer Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 55 m3

Year of Manufacture	: 2010

12.0: Sludge Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 80 m3

Year of Manufacture	: 2010

12.01: Treated Water Tank:

Quantity	01

### Manufacturer	: LTL Global

Capacity	: 35 m3

Year of Manufacture	: 2010

13.0: Other Equipment

  - : Building air cabins

  - : Exhaust ducts, silencers, stack, steel structure

  - : Cooling water, fuel, oil, pipes, valves 13.4: Radiator steel structure

13.5:Water treatment  system

13.6: Control panels 	 13.7: Water treatment